## Tabelle1
| Concrete Floors | Total | 24.265 m3 |  | please quote | for a Building Site | in your country
Welcome to DBHD 2.0.0 calculation - mid 2021
This is a request for quotes for construction work
send your quotes - you quote what is shown in the detail pictures :
| info@ing-goebel.com |  | and | Postfach 12 06 29, 53048 Bonn, Germany
Table Version 13
1. | Concrete Floors | t = 0,2 m | 170 m3 |  | according to given measurement
|  | t = 0,4 m | 11.884 m3 |  | water runs to the trees
|  | t = 0,6 m | 12.211 m3 |  | heavy lorrys 220 tons
|  | Total | 24.265 m3 |  | GDF Building Site your country
|  |  | 2.183 tons |  | 90 kg Steel / m3
| 6.914.250 EUR net | 170 m3 | 25500 | EUR | 8 weeks after 1 st pay - everywhere in Germany
| 1.244.565 EUR 18 % | 11.884 m3 | 1782600 | EUR | B25 Quality - we use your 2 mixing batches
| 8.158.815 EUR brut | 12.211 m3 | 1831650 | EUR | we offer in EUR - we are an EU / DE company
|  | 90 kg steel/m3 | 3274500 | EUR | there is STEEL inside now - very expensive !!!
the pictured BOQ by Ing. Goebel - - - - - Anfrage-Tabelle mit Baugruppen Bildern
2. | Concrete walls | h = 5 m | 780 m | 1.950 m3 | add up youself using given data
|  | h = 10 m | 300 m | 900 m3 | quote also for concrete floors
|  | h = 20 m | 720 m | 7.200 m3 | quote also for concrete columns
|  |  |  | 1.206 tons | 120 kg Steel / m3
| 4.370.250 EUR net | h = 5 m | 419250 | EUR | 8 weeks after 1 st pay - everywhere in Germany
| 786.645 EUR 18 % | h = 10 m | 198000 | EUR | B25 Quality - we use your 2 mixing batches
| 5.156.895 EUR brut | h = 20 m | 1944000 | EUR | we offer in EUR - we are an EU / DE company
|  | Steel | 1809000 | EUR | there is STEEL inside now - very expensive !!!
readable plans are all as .pdf on the website ing-goebel.com
3. | Doors in concrete walls |  |  |  | add up yourself using given data
| 215.040 EUR net | 5 x 5 gates | 16 x | electric | double gates in t = 1 m walls
| 38.707 EUR 18 % | 4 x 1 windows | 24 x | fixed | double windowds in t = 1 m walls
253.747 EUR brut
5 x 5 meter
electric gates
double gate
192.000 EUR
silver, color coating
4 x 1 meter
fixed 3 layer glass
double window
23.040 EUR
no frames
4. | Concrete Columns | 1 x 1 x 4-5 m | 32x | 160 m3 | concrete poured on site
|  | 1 x 1 x 15 m | 16x | 240 m3 | color coating
reinforced connection to the groud
|  | 1 x 1 x 6 m | 8x | 48 m3
|  | 1 x 1 x 12 m | 8x | 96 m3 | quote also for the concrete floors
quote also for the concrete walls
zoom in - clear view
| 337.280 EUR net | h = 4-5 m | 56000 | EUR | 8 weeks after 1 st pay - everywhere in Germany
| 60.710 EUR 18 % | h = 15 m | 84000 | EUR | B25 Quality - we use your 2 mixing batches
| 397.990 EUR brut | h = 6 m | 16800 | EUR | we offer in EUR - we are an EU / DE company
|  | h = 12 m | 33600 | EUR | we quoted what is on the drawings - Thanks
|  | Steel | 146880 | EUR | 180 kg Steel / m3
5. | Roofs | 2 x big roofs | 7.078 m3 |  | see in the given technical plans
|  | 2 x small roofs | 2.683 m3 |  | in metal or in wood - put earth on top
roofs have to be connected to concrete columns
concrete colums are squarelike 1 x 1 m
Building has be solid for 36 years
| 10.200.500 EUR net | 2x big roofs | 7785800 | EUR | 6 month after 1 st. payment - delivery & fixing
| 1.836.090 EUR 18 % |  |  |  | steel construction - but with wooden surfaces
| 12.036.590 EUR brut | 2x small roofs | 2414700 | EUR | we offer in EUR - we are an EU / DE company
6. | Head-Frame Unit | 79.414 m3 | 1x | Steel-Unit | follow given technical plans, do all colors
| 142.945.200 EUR net | 1x steel | 142945200 | EUR | 20 month delivery time after 1st payment
| 25.730.136 EUR 18 % | headframe |  |  | Steel-Frame-Colored-cable drums, motors, brakes
| 168.675.336 EUR brut | unit |  |  | we offer in EUR - we are an EU / DE company
we want to see your technical detail drawing
7. | Workshop-Storage Hall |  | 1x | concrete glas | as defined in the technical drawings
|  |  | 37.269 m3 |  | static calculation required
skip 1,5 Meter from the foundation - Flat undersurface is a must now
7. | Workshop-Storage Hall |  | 1x | concrete glas | as defined in the technical drawings
| 40.995.801 EUR net | 1x | 40995801 | EUR | 18 month delivery time after 1st payment
| 7.379.244 EUR 18 % | Workshop |  |  | concrete and glass with cranes and doors in
| 48.375.045 EUR brut | Storage Hall |  |  | we offer in EUR - we are an EU / DE company
8. | Office-Power-Building |  | 1x | concrete glas | follow the given technical plans
static calculation required
8. | Office-Power-Building |  | 1x | concrete glas | follow the given technical plans
|  |  | 6.624 m3 |  | static calculation required
| 8.610.535 EUR net | 1x | 8610535 | EUR | 18 month delivery time after 1st payment
| 1.549.896 EUR 18 % | Office-Power |  |  | concrete and glass with doors, WCs and stairs in
| 10.160.431 EUR brut | Building |  |  | we offer in EUR - we are an EU / DE company
9. | Trees | 167 Trees |  |  | planted - following the building site plan
trees have to fit to your countries vegetation
The trees have to be ordered early - right after buying the land - they are in the same press conference
| 53.440 EUR net | 167 Trees | 53440 | EUR | 8 weeks after 1 st. Payment - Allee-Bäume - Solitäre
| 9.619 EUR 18 % | delivery |  |  | 16 Jahre alt, h = 5 m, b = 2 m, Stamm D = 30 cm
| 63.059 EUR brut | and planting |  |  | we offer in EUR - we are an EU / DE company
Tree delivery - Tree planting - Tree care 1 year
10. | Fences and Gates |  | 1 Set |  | follow technical plans
| Fences 3 m high - 1m deep | 1.364 m | 143220 | EUR | quote your suitable product - Doppelsteegzaun
| Fences 6 m. high - 2 m deep | 1.148 m | 241080 | EUR | quote your suitable product - Doppelsteegzaun
| Doors for people | 4 x | 20000 | EUR | count them yourself - electric controlled
| Gates for cars, trucks | 6 x | 150000 | EUR | as 2 or 1 - count them yourself - electric controlled
| Electric massiv barrier | 2 x 57 m | 60000 | EUR | fast move - show construction drawing with quote
| 614.300 EUR net | fences 3 m | 143220 | EUR | not easy to climb fence - for 36 years
| 110.574 EUR 18 % | fences 6 m | 241080 | EUR | quality description
| 714.874 EUR net | doors / gates | 170000 | EUR | mention your currentcy
|  | movea. Barrier | 60000 | EUR
11. | Water Cooling Machines |  |  |  | we have a good quote for best machines > STULZ
Capacity : 2x 151 Liters / hour water - 5,4 °C
| 6x Water cooling machines | see.pdf Stulz | 1835983 | EUR | 151 m3 / h cold water -5,4 °C all year around
| 5x Pre-Tanks for Water/Glycol | 100.000 L | 480000 | EUR | 2,67 x 2,3 x 16,3 m = 100 m3 - steel tank, tubes
| 4.631.966 EUR net | 2 sets |  |  | delivery 4 month after 1st payment 50 %
| 833.754 EUR 18 % | water-cooling | 4631966 | EUR | Machines plus tanks and the basic tubes
| 5.4657.20 EUR brut | machines |  |  | we offer in EUR - we are an EU / DE company
12. | Steel Structure to carry the …
| we need a qoute for this : | steel structure | that carries | the water- | cooling units | 2x 6.164 m3 | incl. stairs
| 1.602.640 EUR net | 2 steel structures | 1602640 | EUR | Measurement is based on Stulz Cooling Mach.
| 288.475 EUR 18 % | to carry water- |  |  | metal-grid surface to walk on - stairs, more railings
| 1.891.115 EUR brut | cooling mach. |  | 12.328 m3 | we offer in EUR - we are an EU / DE company
13. | Move-able platforms |  | 2x | Steel | only the red elements are to quote
| Your quote net | 2 x heavy |  |  | heaviest weight 160 Tons to cable
| Country taxes | move-able |  | CAD | platforms pushed by electric motor
| Your qoute brut | platform |  |  | mention your currentcy
14. | Air Cooling Machines |  | 2 sets |  | we have an offer from CFT (has to be completed)
2x 2,2 Mio. m3 / hour cold air + 8° C
offered machines are still too big !?
| 21.000.000 EUR net | 2 x sets |  |  | capacity 2 x 2,2 Mio. m3 / hour cold air + 8 °C
| 3.780.000 EUR 18 % | air cooling | 21000000 | EUR | final machine size unclear - but we have an offer
| 24.780.000 EUR brut | machines |  |  | we offer in EUR - we are an EU / DE company
14. | Steel Structure to carry the … |  | 2x | Steel | existing techn. plans are in-complete yet
2 x 16.299 m3 = 35.598 m3 construction
14. | Steel Structure to carry the … |  | 2x | Steel | existing techn. plans are in-complete yet
| 4.627.740 EUR net | 2 x frames | 4627740 | EUR | Measurement is based on CFT Cooling Mach.
| 832.993 EUR 18 % | to carry the air- |  |  | metal-grid surface to walk on - stairs, more railings
| 5.460.733 EUR brut | cooling mach. |  | 35.598 m3 | we offer in EUR - we are an EU / DE company
15. | Piping to connect cool air |  | 2 sets | Sheat Metal | find more data in techn. plan and .ifc data
| Your quote net | 2 x sets horiz. | 628 m | depth 4 m | delivery 3 month after 1st paym. + work on site 1 m.
| Country taxes | sheet metal |  | EUR | connected with flanges and sealings, fixed on site
| Your qoute brut | piping air-tight |  | DN 800 mm | we offer in EUR - we are an EU / DE company
16. | Tubing to connect cool water |  | 2x | Steel | find more data in techn. plan and .ifc data
| Your quote net | 2 x sets horiz. | 2.512 m | 2,5 m + 3 m | delivery 3 month after 1st paym. + work on site 1 m.
| Country taxes | steel tubes |  | EUR | connected with flanges and sealings - fixed on site
| Your qoute brut | water-tight PN16 |  | DN 125 mm | we offer in EUR - we are an EU / DE company
17. | Earth-Wall from excavation |  |  |  | please follow technical plan - 124.000 m3 take
over from shaft - and their is 2x stairs included
and sitting benches and cultivate vegetation
| 306.000 EUR net | 124.000 m3 | 1 Earth Wall |  | 2 years job - only during sediment excavation works
| 55.080 EUR 18 % | 2 man job 2yrs | 240000 | EUR | take over from hole, carry, build wall, stairs, benches
| 361.080 EUR brut | 46.000 m2 | 66000 | EUR | digger on site - but Bestgrid GEOGITTER you bring
that was all work groups for : Building Site DBHD 2.0.0 GDF Endlager
send your quotes to :
| info@ing-goebel.com | and |  | Postfach 12 06 29, 53048 Bonn, Germany
to be continued soon …
the work groups for "Shaft" - Building now from here :
this is how the "Steel Shaft" has to look like after being build - that is work for specialized companies
STÜCKLISTE - 1x Stahlbau-Schacht für DBHD 2.0.0 - ANFRAGEN für Baustelle für Endlager HLW
PARTS LIST - 1x steel construction shaft for DBHD 2.0.0 - INQUIRIES for construction site for HLW repository
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise ohne Montage) |  | oder m2 | Meter | Preis
https://www.ing-goebel.de/dbhd-2-0-0-elements/
|  | h = 2 Meter |  |  |  | Stahl Gewicht pro Tübbing 3.369 kg
18. | Stahl-Tübbinge für D 12 | 8 Teile-Ring | 3,7 t x 4.400 | 16.280 tons | Fein-Guss | Zng. Ing. Goebel | 2 x 4,6 x 0,25 m
| Schrauben für Tübbinge | 13x | 4400 | 57200 | Verzinkt | Qualität 8.8 | M30 x 60
| Muttern für Schrauben | 13x | 4400 | 57200 | Verzinkt | Qualität 8.8 | M30
| Sicherungs-Scheiben | 13x | 4400 | 57200 | Verzinkt | keine Federringe | für M30
| Hinterfüllung > Wasserd. | m2 | 41448 |  | Hilti-Hit | 2K Epoxid-Harz | Hit-Hy-270
| Angebots-Preis Feinguss | t = 25 | 16.280 tons | 81400000 | EUR | Stahl-Tübbinge | 3,7 tons / each
| Angebots-Preis Verb.-T. |  | 4.400 sets | 264000 | EUR | 3 er Set | 12 kg / set
| Angebots- Preis Epoxid | 41.448 m2 | 50,51 € / set | 2100000 | EUR | Hinterfüllung !!
Den Stahl-Tübbing für D 12 m müssen Sie erst einmal selbst zeichnen oder in der .ifc Datei finden
Die Bemessung für die Eignung ist nicht vom Hersteller des Stahl-Guss-Bauteils zu erbringen
Die Stärke des D 12 Tubbing Elements sieht Ing. Goebel bei 15 mm plus aufgeschweisste weisse Platte
the white closing plate can be welded onto the poured / casted steel tubbing
we want a clean shaft - all steel elements are coated with color and can be "kärchert" with water pressure
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise MIT Montage) |  | oder m2 | Meter | Preis
[6 empty] | Fixlänge : 13,5 m. | (Pellet+Fuge)
19. | Führungs-Schienen Aufz. | 14x im D 12 m. | 1.100 m | 15.400 m | 1.281 Tons. | weiss-lackiert | HEB 240
| Führungs-Schienen Aufz. | 14x im D 20 m. | 1.100 m | 15.400 m | 1.281 Tons. | weiss-lackiert | HEB 240
| Angebots-Preis Fixlängen | 2.562 Tons | 30.800 m. | 3843840 | EUR | Fixlängen 13,5 m | HEB 240
83,2 kg/m.
20. | Aufzugs-Plattform am Seil | 2 x 2 = 4 | 4 Stück | Stahl/ PTFE | bis 160 Tons. | Sicherheit x 1,6 | Typ1 schnell
| Aufz. Plattform elektr. D 12 | 2 x 4 | 8 Stück | Stahl/ PTFE | bis 18 Tons | Sicherheit x 1,6 | Typ 2 langsam
| Aufz. Plattform elektr. D 20 | 2 x 4 | 8 Stück | Stahl/ PTFE | bis 18 Tons | Sicherheit x 1,6 | Typ 2 langsam
| Angebots-Preis Entwicklung |  |  |  | USD | F & E
| Angebots-Preis Typ 1 |  | 4 Stück |  | USD |  | orange lackiert
| Angebots-Preis Typ 2 |  | 16 Stück |  | USD |  | orange lackiert
this how the 2 x 2 elevator systems have to work in the shaft
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise ohne Montage) |  | oder m2 | Meter | Preis
[6 empty] | Fixlängen 13,5 m | Flansch-Höhen
21. | Kühl-Wasser Rohre im D 12 | 32x im D 12 | 1.100m | 35.200 m | Rund-Rohr | Stahl-blau lackiert | 139,7 x 10 mm
| Kühl-Wasser Rohre im D 20 | 32x im D 20 | 1.100m | 35.200 m | Rund-Rohr | Stahl-blau lackiert | 139,7 x 10 mm
| Flansche PN 6 bis PN 320 | 64x | 164 Stück | 10.496 Sück | 2 Stk / Rohr | Stahl-blau lackiert | alt. elektrisch
| Schieber PN 6 bis PN 320 | 64x | 82 Stück | 5.248 Stück | Hand-Rad | Stahl-blau lackiert | alt. elektrisch
| Stell-Antriebe für Schieber | 64x | 82 Stück | 5.248 Stück |  | alles DN 125 - Decision April 2021
| Angebots-Preis Rohre | PN 16 - PN 320 | 70.400 m |  | CAD
| Angebots-Preis Flansche | PN 16 - PN 320 | 10.496 Stk |  | CAD
| Angebots-Preis Schieber | PN 16 - PN 320 | 5.248 Stk |  | CAD
| Angebots-Preis Stellantriebe | PN 16 - PN 320 | 5.248 Stk |  | CAD
Die DN 125 Verrohrung müssen Sie sich aufskizzieren um die Bereichen PN16 bis PN 320 richtig bewerten zu können !
Achtung - mit zunehmender Wassersäule steigt der Druck in den Rohren - unten ca. 320 bar
Attention - with increasing water column the pressure in the pipes increases - at the bottom approx. 320 bar
Rohre - Flansche - Schieber = ein Stück Rohr mit Wechsel-Länge / Fix-Länge 13,5 Meter
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise ohne Montage) |  | oder m2 | Meter | Preis
minus
[6 empty] | Fixlängen 13,5 m | Flansch-Höhen
22. | Beton-Zuliefer Rohre unten | 4x im D 12 | 1.100m | 4.400 m | Rund-Rohr | Stahl-grau lackiert | 219 x 8 mm
| Beton-Zuliefer Rohre unten | 4x im D 20 | 1.100m | 4.400 m | Rund-Rohr | Stahl-grau lackiert | 219 x 8 mm
| Angebots-Preis Beton Rohre |  | 8.800 m | 924000 | EUR | 41,65 kg/m.
| Angebots-Preis Elektr. Leer. |  | 8.800 m | 400000 | EUR
Fixlängen 13,5 m
| Elektro-Leer-Rohre | 4x im D 12 | 1.100m | 4.400 m | Hohl-Profil | Stahl-rot lackiert | 200x350x5
| Elektro-Leer-Rohre | 4x im D 12 | 1.100m | 4.400 m | Hohl-Profil | Stahl-rot lackiert | 200x350x5
Material-Wahl soll Elektro-Planer prüfen
23. | Beton-Zuliefer Rohre oben | 2 sets | 204 meters | Steel DN 400 | the problem is building them in 97 m deep (45°)
96 ,55 m = deepest point - not easy to build !!! And one set of concrete pipes go straight up - as a reserve option
but the real concrete feeder pipes are under 45 ° and connect mixing batch with shaft - not easy ! 96,55 m deep !!!
| Your quote net | 2 sets | 203,77 m | 407.54 m | quotes to this are very welcome and honored
| Country taxes | concrete delivery | 520 .000 | EUR | draft architect does not know any technology
| Your qoute brut | tubes under 45 ° |  |  | required for such task - we offer you money
|  | fixed on site |  |  | DN 400 - round tubes - t = 5 mm - flanges
24. | Konus für Durchm.-Wechsel | 1x |  | 1.180 m3 | Ort-Beton | Zng. Ing. Goebel | im Steinsalz
| Flansch f. Durchm.-Wechsel | 1x |  | 679 m3 | Ort-Beton | Zng. Ing. Goebel | im Steinsalz
| Stäbe für zus. Verankerung | 36x | 20 m | 720 m | Rund-Stahl | Zng. Ing. Goebel | D = 20 mm
| Preis Konus MIT Montage |  | 1.180 m3 | 590000 | EUR | Grob-Bauteil
| Preis Flansch MIT Montage |  | 679 m3 | 339500 | EUR | Grob-Bauteil
| Preis Verankerungen MIT M. |  | 720 m | 14400 | EUR | Monier-Eisen
| Summe Pos. 24 |  |  | 943900 | EUR | netto, LZ 3 Monate | 50 % Anz.
Konus und Flansch sitzen zu hoch - die müssen zur Unterkante der Verschluss-Strecke = ca. 300 Meter tiefer !
the measurement for " cone and flange " you find in the technical drawings
|  | Fixlängen | alle 6 m.
25. | Mittel-Wand-Träger D 12 | 11,58 m | 1.100 m | 2.119 m | Profil-Stahl | weiss-lackiert | HEA 600
| Mittel-Wand-Träger D 20 | 19,30 m | 1.100 m | 3.532 m | Profil-Stahl | weiss-lackiert | HEA 600
| Angebots-Preis HEA 600 Fixl. |  | 5.651 m | 2169984 | EUR net
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise ohne Montage) |  | oder m2 | Meter | Preis
|  | D = 19.90 m | Fix-Längen | 990 x 450 | Abnahme Ebene nach ober-irdischer Vor-Montage
26. | Verguss-Plattform für D 20 | 8x | 9,95 m | 79,60 m | Profil-Stahl | weiss-lackiert | (HEA 1000)
| max. 160 T. entfällt ! | 8x | 6,21 m | 49,68 m | Profil-Stahl | weiss-lackiert | (HEA 1000)
| 2 Winden ziehen 2x 160 T | 8x | 2,63 m | 21,04 m | Profil-Stahl | weiss-lackiert | (HEA 1000)
| folgen Sie der techn. Zeichn. | 8x | 2,09 m | 16,72 m | Profil-Stahl | weiss-lackiert | (HEA 1000)
| Dick-Blech-Rand | h 2,6 | L 62,8 m | 164,28 m2 | Band-Stahl | orange-lackiert | t = 26 mm
| Rück-V.-Stäbe auf Scherung | 90x | 20 m | 1.800 m | Rund-Stahl | verzinkt | 20 mm
| Lichtgitter massiv | 1 | 310,9 m2 | 310,9 m2 | Lichtgitter | verzinkt | t = 50-100 mm
Beton fällt durch - aber begehbar
| Angeb.-Preis- Verguss-Ebene | 2x 314 m2 | 1600000 | EUR | 2 Bauteil-Sets Verguss-Ebene |  | max. 160 T. !!!
Vormontage geschraubt - Einsatz verschweisst
Eine Verguss-Ebene im Einsatz - eine in Reserve
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise ohne Montage) |  | oder m3 | Meter | Preis
27. | Beton-Pellets D = 20 m | 59 Pellets | 2.590 m3 | 152.810 m3 | Beton und 8 % | Netto ohne Castoren | h = 12 m
[5 empty] | Magnetit Pulver | Verguss macht DBHD
| Sand-Dehnfugen D = 20 m | 60 Schichten | 471 m3 | 28.260 m3 | Korn 1-5 mm | trockener Sand | h = 1,5 m
| Angebots-Preis für Beton | 152.810 m3 |  |  | EUR | frei Schachtkopf | Kubikmeter-
| Angebots-Preis für Sand | 28.260 m3 |  |  | EUR | frei Schachtkopf | Angaben !!
| Angebots-Preis für Magnetit | 4.130 m3 |  |  | EUR | frei Schachtkopf | nicht Tonnen
An dieser Stelle wird die Endlagerung so richtig teuer - wir bitten alle Schulen und Kindergärten um Entschuldigung
Zeichnen Sie Pellet h12 m und Dehnfuge h1,5 m - Einlagerung erfolgt im D 20 m Bereich - Beton-Rezeptur beilegen.
| Bauteil-Name | Anzahl pro | Meter o. | Menge | Matrial | Hinweise | Sonstiges
|  | Bauteil | Bauteile | Preis |  | Qualität
| (Preise ohne Montage) |  | oder m3 | Meter | Preis
|  | h = 2 Meter |  |  |  | Stahl-Gewicht pro Tübbing 4.717 kg
28. | Stahl-Tübbinge für D 20 | 12 Teile-Ring | 4.7 t. x 6.600 | 31.132 tons | Fein-Guss | Zng. Ing. Goebel | 2 x 5,175 x 0,35 m
| Schrauben für Tübbinge | 13x | 6600 | 85800 | Verzinkt | Qualität 8.8 | M30 x 60
| Muttern für Schrauben | 13x | 6600 | 85800 | Verzinkt | Qualität 8.8 | M30
| Sicherungs-Scheiben | 13x | 6600 | 85800 | Verzinkt | keine Federringe | für M30
| Angebots-Preis Feinguss | t = 35 cm | 31.132 tons | 155661000 | EUR | Stahl-Tübbinge | 4,717 t. / Stk.
| Angebots-Preis Verb.-T. |  | 6.600 Sets | 495000 | EUR | 3 er Set | 15 kg / set
Dieses Bauteil müssen Sie erst einmal selbst für D = 20 m im Detail konstruieren - oder als 3D Teil im .ifc Datensatz
[5 empty] | 4 x 2,1 m2 | Fixlängen 13,5 m | 3-Seiten Rohr
29. | Kalt-Luft Blech-Rohre D12 | 4x im D 12 | 1.100m | 4.400 m | Blech-Rohr | hellbau lackiert | 2,10 qm
| Kalt-Luft Blech-Rohre D20 | 4x im D 20 | 1.100m | 4.400 m | Blech-Rohr | hellblau lackiert | 2,10 qm
| Angebots-Preis Blech Rohre |  | 8.800 m | 1892000 | EUR | Blech, gerollt, gekantet - PopNieten
lackiert - Befestigung ungeklärt !
30. | Electricity Plan and Install | 1 set | 4000000 | EUR | electrical planning and electrical installations
31. | Water IN - Water OUT | 1 set | 2000000 | EUR | to water cooling system, office, workshop, toilets
| Plan and Install |  |  |  | Wasserversorung und Kanalisation
32. | Building Land | 363 x 300 m | 13068000 | EUR | on top of a deep and fat and GDF able geology
| better you buy | 2x 100 x 300 m | 7200000 | EUR | street connection essential / train track welcome
33. | Trucks / Dump-Trucks | 20 x 33 tons | 577.760 tons | 3040000 | driving away salt - doing transport - cities and BGE
| calculated : MB 3345 AK | 17.508 Tours | each 300 km | 2605172 | for Diesel fuel - that is rather a train transport
34. | Radlader - Digger | 4x L509 Tele | 4x Cat 313 GC | 720000 | Filling Concrete Mixer Batch - and Earth-Wall build
|  | 156.000 m3 | 124.000 m3 | 500000 | Diesel fuel for Radlader and Diggers/Bagger
35. | Car-Cranes | 2x 1.300.000 | 2600000 | EUR | same size - to lift 160 tons each Castor handling
36. | Staff - Workers | 50 x 120.000 | 6.000.000 / J. | EUR | shaft - shaft - shaft - site - workshop - office
|  | 12 years | 72000000 | EUR | 12 yrs = 1 hole /// 36 yrs = 3 holes
only 4 hours shift inside shaft - prices DE
| Stand - 28.04.2021 - Vers. 13 |  | Angebote / Quotes bitte an : Herrn V. Goebel " info@ing-goebel.com "
| http://www.ing-goebel.com |  | "und" an das Postfach 12 06 29, 53048 Bonn, Germany - and to PO box